## Params
ONLY CHANGE THE RED NR's
Operator Name | My Customer
Operator cost price per Rack (internal) per month | 3500
Operator cost price per per kwatt/h (including PUE) | 0
Operator cost price per TB/month (traffic) | 0
Spare Capacity we want to keep in G8 | 10% | will become lower as G8 becomes bigger
System Type | MEDIUM-C |  | STARTER-C | STARTER | MID-C | MID | GIG G8 Bluepeak CDN Node | GIG G8 All Supermicro - XtraSmall - 100G CDN | MEDIUM-C | GIG G8 All Supermicro - Starter Base - High Storage | MEDIUM | GIG G8 - Storage specific | GIG test-trial rack | LCI | GIG UK rack
Compute Parameters | [15 empty] | 2
Model (S-QCT, S-All) | S-All |  | S-All | S-All | S-All | S-All | S-All | S-All | S-All | S-All | S-All | S-QCT | S-QCT | S-QCT | S-QCT | 3
chassis type | GTC100012 |  | GTC100012 | GTC100012 | GTC100012 | GTC100012 | GTC100012 | GTC100012 | GTC100012 | GTC100012 | GTC100012 | GTC100003 | GTC100006 | GTC100006 | GTC100003 | 3
chassis quantity | 5 |  | 1 | 1 | 2 | 2 | 1 | 1 | 5 | 1 | 5 | 2 | 2 | 6 | 4 | 4
blade type / motherboard | . |  | . | . | . | . | . | . | . | . | . | . | . | . | . | 5
rdma (non redundant 1 otherwise 2,no rdma=0) | 2 |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 6
Switch Series | sn |  | sn | sn | sn | sn | sn | sn | sn | sn | sn | sn | sn | mx | mx | 7
quantity of compute nodes per chassis (1 for single, 4 for converged, max 8 for scaleout) | 4 |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 1 | 1 | 4 | 8
cpu type | GTC110011 |  | GTC110011 | GTC110011 | GTC110011 | GTC110011 | GTC110011 | GTC110011 | GTC110011 | GTC110011 | GTC110011 | GTC110005 | GTC110005 | GTC110005 | GTC110005 | 9
cpu quantity per node | 2 |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 1 | 2 | 10
cache ssd type | GTC130027 |  | GTC130027 | GTC130027 | GTC130027 | GTC130027 | GTC130027 | GTC130027 | GTC130027 | GTC130027 | GTC130027 | GTC130016 | GTC130016 | GTC130016 | GTC130016 | 11
cache ssd quantity per node | 4 |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 6 | 4 | 12
OS cache ssd type | GTC130027 |  | GTC130027 | GTC130027 | GTC130027 | GTC130027 | GTC130027 | GTC130027 | GTC130027 | GTC130027 | GTC130027 | GTC130013 | GTC130013 | GTC130016 | GTC130013 | 13
OS cache ssd quantity per node | 2 |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 14
nvme type | GTC130028 |  | GTC130028 | GTC130028 | GTC130028 | GTC130028 | GTC130028 | GTC130028 | GTC130028 | GTC130028 | GTC130028 | . | . | . | . | 15
nvme quantity per node | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 16
HDD type | . |  | . | . | . | . | . | . | . | . | . | . | . | . | . | 17
HDD quantity per node (8TB), only possible for single node system. | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 18
memory type | GTC120012 |  | GTC120012 | GTC120015 | GTC120012 | GTC120015 | GTC120012 | GTC120012 | GTC120012 | GTC120012 | GTC120015 | GTC120010 | GTC120010 | GTC120006 | GTC120010 | 19
memory quantity per node | 8 |  | 8 | 8 | 8 | 8 | 4 | 8 | 8 | 8 | 8 | 8 | 4 | 6 | 8 | 20
| 0 | [5 empty] | 0 | 0 | [7 empty] | 21
Storage Parameters | 0 | [5 empty] | 0 | 0 | [7 empty] | 22
chassis quantity | 6 |  | 2 | 2 | 4 | 4 | 2 | 2 | 6 | 4 | 6 | 6 | 2 | 2 | 2 | 23
SAN Inside | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 24
os ssd type | GTC130025 |  | GTC130025 | GTC130025 | GTC130025 | GTC130025 | GTC130025 | GTC130025 | GTC130025 | GTC130025 | GTC130025 | GTC130016 | GTC130016 | GTC130016 | GTC130016 | 25
os ssd quantity per chassis | 2 |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 1 | 4 | 1 | 26
WRITE cache ssd type | GTC130025 |  | GTC130025 | GTC130025 | GTC130025 | GTC130025 | GTC130025 | GTC130025 | GTC130025 | GTC130025 | GTC130025 | GTC130016 | GTC130016 | GTC130016 | GTC130016 | 27
WRITE cache ssd quantity per chassis | 2 |  | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 4 | 6 | 6 | 6 | 28
HDD type | GTC130018 |  | GTC130018 | GTC130018 | GTC130018 | GTC130018 | GTC130018 | GTC130018 | GTC130018 | GTC130007 | GTC130018 | GTC130007 | GTC130002 | GTC130002 | GTC130002 | 29
HDD quantity per chassis (12-60) | 18 |  | 18 | 18 | 18 | 18 | 8 | 18 | 18 | 18 | 18 | 60 | 20 | 30 | 60 | 30
NVME type | GTC130027 |  | GTC130027 | GTC130027 | GTC130027 | GTC130027 | GTC130027 | GTC130027 | GTC130027 | GTC130027 | GTC130027 | GTC130022 | GTC130022 | GTC130022 | GTC130022 | 31
NVME quantity per chassis | 1 |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 32
Erasure Coding Overhead | 1.6875 |  | 2 | 2 | 1.6875 | 1.6875 | 2 | 2 | 1.6875 | 1.5 | 1.6875 | 1.5 | 1.5 | 1.5 | 1.5 | 33
Bandwidth | [15 empty] | 34
| 40G |  | 40G | 40G | 40G | 40G | 40G | 100G | 40G | 40G | 40G | 40G | 40G | 40G | 40G | 35
Description | 0 |  | GIG G8 All Supermicro - Starter Base - Compute Intensive | GIG G8 All Supermicro - Starter Base - Normal Compute Power | GIG G8 Small config - Compute Intensive | GIG G8 Small Config - Normal Compute Power |  |  | GIG G8 All Supermicro - Medium - Compute Intensive | GIG G8 All Supermicro - Starter Base - High Storage | GIG G8 All Supermicro - Medium | GIG G8 - Storage specific | GIG test-trial rack | LCI | GIG UK rack | 1
36
37
38
Parameters | [15 empty] | 39
overrule rackspace U | 0 | [14 empty] | 40
41
% of TU used for NAS | 0%
% NAS compared to std Storage | 0%
avg sold capacity | 80%
average buy back from GIG exchange from remaining not sold capacity | 0% | is without maintenance, without power, without rackspace
percent fast TU (2GB vs 10 GB TU) | 100%

## GIG COST
GIG Cost Calculation
|  | HW x param | 1
GIG Europe Mtc / GCOC |  | Maintenance on hardware | 3% | per year | of hardware cost
|  | GCOC maintenance fee | 0% | per year | of hardware cost
GIG Costs |  |  | Setup Cost | Monthly Recurring | TCO monthly | TCO monthly (no R/P)
|  | Compute equipment | 160846.56 | 402.1164 | 4106.2991 | 4485.0299
|  | SAN/high speed IOPS equipment | 39526.2 | 98.8155 | 1009.076 | 1102.1447
|  | Storage equipment | 84395.98 | 210.9899 | 2154.5697 | 2353.2893
|  | Networking System | 26264.7 | 65.6617 | 670.5192
|  | Management System | 8033.76 | 20.0844 | 205.0962
|  | Rackspace |  | 2306.8182 | 2306.8182
|  | Power |  | 0 | 0
|  | TOTAL | 319067.2 | 3104.4862
|  | TOTAL EUR | 290061.0909 | 2822.2602
|  | overhead %: | 30.45%
|  |  | TCO (monthly 48 months) | CAPEX/unit | TCO/month/unit incl finance cost | Power/Rackspace+ Maintenance HW
| 1866.24 | Compute (memory / CPU): CU | 5903.8401 | 96.5682 | 3.1635 | 0.86084
| 8000 | Transaction Units (High Speed SAN / IOPS): TU | 1450.8011 | 5.5359 | 0.18135 | 0.049349
| 1152 | Storage: SU | 3097.7372 | 82.0841 | 2.689 | 0.73173
|  | TOTAL monthly TCO (HW + SW only) | 8145.5602
|  | TOTAL monthly TCO (includes power/rackspace/...) | 10452.3784
Cloud Units
TCO for cloud units |  |  | With Rackspace/Power | Without Rackspace/Power
| CU | cost compute unit (4GB memory, 2 virtual CPU) | 3.1635 | 2.4032 | Amazon 40-80 | 20 | 1866.24 | 31420.9599
| SU | cost per TB storage per month | 2.689 | 2.0428 | Amazon 25-300 | 11.5 | 1152 | 10150.2628
| TU | cost transaction unit | 0.18135 | 0.13777 | Amazon 5-10 | 1 | 8000 | 6549.1989
| NU | cost per TB transfer | 0 | 0 |  |  |  | 48120.4216
2309780.2368
| Monthly TCO for units EUR |  | With Rackspace/Power | Without Rackspace/Power
| CU | cost compute unit (4GB memory, 2 virtual CPU) | 2.689 | 2.0428
| SU | cost per TB storage per month | 2.2857 | 1.7364
| TU | cost transaction unit (5000 IOPS/TB, 10 GB capacity) | 0.15415 | 0.1171
| NU | cost per TB transfer | 0 | 0
Note on G10: 5% gets replaced over lifetime / 48 months -Kristof De Spiegeleer
Note on F41: formulat should be ParamsB9 > 1 ... not = 1 -Jurgen Hofkens also in discussion with Akash - volumedrive IOPS Max for Eugene is today 50k IOPS -Jurgen Hofkens please use in all calculators fargo release, we are working for what we want to ship end of summer -Kristof De Spiegeleer dont understand remark about B9, where is it used? -Kristof De Spiegeleer

## Cloud Unit Definitions
Cloud Unit Definition
CU (Compute Unit)
| Memory | 4 | GB
| nr vCPU | 2 |  | 4 x oversubscribed
| Min Frequency | 1600 | MHz
| Max Frequency | 4000 | MHz
| Passmark Min | 500 | Passmark
| Passmark Max | 1250 | Passmark
SU (Storage Unit = per TB)
| Storage Capacity | 1 | TB | this is provisioined vDISK capacity, assuming a 2x overprovisioning towards the back-end
TU (Transaction Unit = IOPS (IO Operations Per Second))
| min IOPS per TU | 100 | IOPS | IOPS = 4k block 80% READ / 20% WRITE RANDOM
| max IOPS per TU | 400 | IOPS
NU (Network Unit = per TB)
| TB transferred OUT or IN | 1 | TB

## CloudUnits Capacity
Cloud Unit Capacity
Compute Units (CU)
|  | nr of CU in system (after spare capacity, so net usable) | 1866.24
|  | nr of logical cpu cores (hyperthreaded) available for compute | 1166.4 | cores
|  | total passmark compute capacity | 0 | passmark
|  | nr of GB memory available | 8294.4 | GB
|  | nr 4 GB machines | 2073.6 | nr
|  | nr of cores per CU (if 4x oversubscription) | 2.5 | cores
|  | passmark per VM (if 4x oversubscription) | 0 | passmark
|  | passmark per VM min (if everyone uses 100% of capacity) | 0 | passmark
Storage Units (SU)
|  | nr of SU in system (after spare capacity, so net usable) | 1152
|  | Storage Capacity Net Usable on 1 location towards back-end | 640 | TB
|  | avg available storage per VM (if VM = 1 CU) in this env | 0.61728 | TB
Transaction Units (high speed SAN/IOPS) (TU)
|  | nr of TU in system (after spare capacity, so net usable) | 8000
|  | MIN IOPS | 800000 | iops
|  | MAX sellable IOPS if 4x oversubscription | 3200000 | iops
|  | nr avg iops per VM (if 4x oversubscription & VM uses 1 CU) | 6172.8395 | IOPS
|  | nr avg iops per SU (if 4x oversubscription) | 11111.1111 | per SU
|  | min IOPS per VM if all would be using 100% | 385.8025 | IOPS
|  | min IOPS per Storage Unit if all would be using 100% | 694.4444 | per SU
|  | avg available High Speed SAN/Cache per VM | 49.0148 | GB/VM
|  | amount of SAN SSD per TB HDD | #REF!
|  | avg available TU's per VM | 4.9015 | TU/VM
|  | avg available IOPS per T of Storage - 4x oversubscribed | 2777.7778 | IOPS/1T Storage
Used Racks & Power
|  | nr racks | 0.65909
|  | power usage | 14.8064 | Kw/hr

## CALCULATION
Type | Category | Reference | Description | Qty/chassis | Qty/G8 | Qty/total | Cost/pc (EUR) | Cost/pc NET (USD) | Cost/pc (USD) | CC | QTY |  |  | U | Power | Link | Storage SSD (TB) | STORAGE HDD (TB) | MEM (GB) | CORES | PASSMARK | QTY C14
Compute | Chassis | GTC100012 | SuperServer 2029BT-HNR - including assembly and accessories | 1 | 5 | 5 | 3740 | 4620 | 4400 | C | 5 | 23100 | 22000 | 2 | 200 | info | 0 | 0 | 0 | 0 | 0 | 4
Compute | . | . | 0 | 4 | 20 | 20 | 0 | 0 | 0 | C | 5 | 0 | 0 | 0 | 0 | info | 0 | 0 | 0 | 0 | 0 | 0
Compute | CPU | GTC110011 | Intel Cascade Lake P4x-CLX5220-SRFBJ Intel Xeon GOLD 5220 | 8 | 40 | 40 | 1360 | 1680 | 1600 | C | 5 | 67200 | 64000 | 0 | 105 | info | 0 | 0 | 0 | 36 | 0 | 0
Compute | NIC | GTC160018 | Supermicro SIOM, 25GbE, ConnectX-4 | 4 | 20 | 20 | 255 | 315 | 300 | C | 5 | 6300 | 6000 | 0 | 0 | info | 0 | 0 | 0 | 0 | 0 | 0
Compute | . | . | 0 | 4 | 20 | 20 | 0 | 0 | 0 | C | 5 | 0 | 0 | 0 | 0 | info | 0 | 0 | 0 | 0 | 0 | 0
Compute | Memory | GTC120012 | Samsung Memory, 64GB, Supermicro OEM, MEM-DR464L-SL03-LR26 | 32 | 160 | 160 | 348.5 | 430.5 | 410 | C | 5 | 68880 | 65600 | 0 | 15 | info | 0 | 0 | 64 | 0 | 0 | 0
Compute | . | . | 0 | 0 | 0 | 0 | 0 | 0 | 0 | S | 5 | 0 | 0 | 0 | 0 | info | 0 | 0 | 0 | 0 | 0 | 0
Compute | Storage - NVMe | GTC130028 | Intel® SSD DC P4101 Series - 1TB, M.2 80mm PCIe 3.0 x4, 3D2, TLC | 4 | 20 | 20 | 327.25 | 404.25 | 385 | H | 5 | 8085 | 7700 | 0 | 8 | info | 1 | 0 | 0 | 0 | 0 | 0
Compute | Storage - NVMe | GTC130027 | Intel DC P4510 1TB NVMe PCI-E 3.1 x4 3D TLC 2.5" 15mm 1DWPD | 16 | 80 | 80 | 212.5 | 262.5 | 250 | S | 5 | 21000 | 20000 | 0 | 8 | info | 1 | 0 | 0 | 0 | 0 | 0
Compute | Storage - NVMe | GTC130027 | Intel DC P4510 1TB NVMe PCI-E 3.1 x4 3D TLC 2.5" 15mm 1DWPD | 8 | 40 | 40 | 212.5 | 262.5 | 250 | S | 5 | 10500 | 10000 | 0 | 8 | info | 1 | 0 | 0 | 0 | 0 | 0
|  | Total / chassis |  |  |  |  | 33201 | 41013 | 39060 |  |  |  |  | 2 | 1680 |  | 20 | 0 | 2048 | 288 | 0 | 4
|  | Total chassis / G8 |  | 5 |  |  | 166005 | 205065 | 195300 |  |  |  |  | 10 | 8400 |  | 100 | 0 | 10240 | 1440 | 0 | 20
Storage | Chassis | GTC100010 | SuperStorage 6029P-E1CR24H - including assembly and accessories | 1 | 6 | 6 | 3400 | 4200 | 4000 | S | 6 | 25200 | 24000 | 2 | 525 | info | 0 | 0 | 0 | 0 | 0 | 1
Storage | CPU | GTC110012 | Intel Cascade Lake P4X-CLX4214-SRFB9 Intel Xeon SILVER 4214 | 2 | 12 | 12 | 603.5 | 745.5 | 710 | S | 6 | 8946 | 8520 | 0 | 85 | info | 0 | 0 | 0 | 24 | 0 | 0
Storage | Storage - NVMe | GTC130027 | Intel DC P4510 1TB NVMe PCI-E 3.1 x4 3D TLC 2.5" 15mm 1DWPD | 1 | 6 | 6 | 212.5 | 262.5 | 250 | S | 6 | 1575 | 1500 | 0 | 8 | info | 1 | 0 | 0 | 0 | 0 | 0
Storage | Memory | GTC120011 | Samsung Memory , 32GB, Supermicro OEM, MEM-DR432L-SL03-ER26 | 8 | 48 | 48 | 189.55 | 234.15 | 223 | S | 6 | 11239.2 | 10704 | 0 | 7 | info | 0 | 0 | 32 | 0 | 0 | 0
Storage | NIC | GTC160019 | Supermicro Add-On Card - AOC-MHIBF-m2Q2G - ConnectX-3 - 40GbE | 1 | 6 | 6 | 552.5 | 682.5 | 650 | S | 6 | 4095 | 3900 | 0 | 0 | info | 0 | 0 | 0 | 0 | 0 | 0
Storage | Storage - SSD | GTC130025 | Intel SSD, D3-S4610, 960GB SATA 6Gb/s 3D TLC 2.5" 7mm 3DWPD | 2 | 12 | 12 | 212.5 | 262.5 | 250 | S | 6 | 3150 | 3000 | 0 | 3 | info | 0.98 | 0 | 0 | 0 | 0 | 0
Storage | Storage - SSD | GTC130025 | Intel SSD, D3-S4610, 960GB SATA 6Gb/s 3D TLC 2.5" 7mm 3DWPD | 2 | 12 | 12 | 212.5 | 262.5 | 250 | S | 6 | 3150 | 3000 | 0 | 3 | info | 0.98 | 0 | 0 | 0 | 0 | 0
Storage | Storage - HDD | GTC130018 | Seagate HDD, 10TB, 3.5", SATA - ST10000NM0016 | 18 | 108 | 108 | 255 | 315 | 300 | S | 6 | 34020 | 32400 | 0 | 6.8 | info | 0 | 10 | 0 | 0 | 0 | 0
Storage | . | . | 0 | 180 | 1080 | 1080 | 0 | 0 | 0 | S | 6 | 0 | 0 | 0 | 0 | info | 0 | 0 | 0 | 0 | 0 | 0
|  | Total / chassis |  |  |  |  | 12328.4 | 15229.2 | 14504 |  |  |  |  | 2 | 893.4 |  | 4.92 | 180 | 256 | 48 | 0 | 1
|  | Total chassis / G8 |  | 6 |  |  | 73970.4 | 91375.2 | 87024 |  |  |  |  | 12 | 5360.4 |  | 29.52 | 1080 | 1536 | 288 | 0 | 6
Controller | Chassis | GTC100011 | SuperServer 5019C-MR | 1 | 3 | 3 | 1275 | 1575 | 1500 | O | 3 | 4725 | 4500 | 1 | 100 | info | 0 | 0 | 0 | 0 | 0 | 1
Controller | Memory | GTC120013 | Samsung Memory, 8Gb, Supermicro OEM, MEM-DR480L-HL01-EU26 | 4 | 12 | 12 | 62.9 | 77.7 | 74 | O | 3 | 932.4 | 888 | 0 | 6 | info | 0 | 0 | 8 | 0 | 0 | 0
Controller | Storage - SSD | GTC130013 | Samsung SSD, PM863a, 480GB, 2.5", SATA, PM863a - MZ7LM480HMHQ | 2 | 6 | 6 | 235.62 | 291.06 | 277.2 | O | 3 | 1746.36 | 1663.2 | 0 | 6 | info | 0.47 | 0 | 0 | 0 | 0 | 0
Controller | CPU | GTC110001 | Intel Xeon Processor, 3.10GHz, 8MB cache, LGA1150 - E3-1220V3 | 1 | 3 | 3 | 170 | 210 | 200 | O | 3 | 630 | 600 | 0 | 56 | info | 0 | 0 | 0 | 4 | 6500 | 0
|  | Total / chassis |  |  |  |  | 2167.84 | 2677.92 | 2550.4 |  |  |  |  | 1 | 192 |  | 0.94 | 0 | 32 | 4 | 6500 | 1
|  | Total chassis / G8 |  | 3 |  |  | 6503.52 | 8033.76 | 7651.2 |  |  |  |  | 3 | 576 |  | 2.82 | 0 | 96 | 12 | 19500 | 3
Networking | Networking | GTC160016 | Mellanox Ethernet Switch, 36-port, 40/56GbE, full-width - MSN2700-BS2R | 2 | 2 | 2 | 8500 | 10500 | 10000 | N | 1 | 21000 | 20000 | 1 | 150 | info | 0 | 0 | 0 | 0 | 0 | 2
Networking | Miscellaneous | GTC200002 | Mellanox Rack Installation Kit for SN Series | 2 | 2 | 2 | 425 | 525 | 500 | N | 0 | 0 | 0 | 0 | 0 | info | 0 | 0 | 0 | 0 | 0 | 0
Networking | Miscellaneous | GTC240002 | Mellanox Technical Support and Warranty for MSN2700-BS2R - Silver 3 Year | 2 | 2 | 2 | 1308.15 | 1615.95 | 1539 | N | 0 | 0 | 0 | 0 | 0 | info | 0 | 0 | 0 | 0 | 0 | 0
Networking | Networking | GTC160020 | Supermicro Layer 2/3 1/10G Ethernet SuperSwitch - SSE-G3648B/SSE-G3648BR | 1 | 1 | 1 | 1275 | 1575 | 1500 | N | 1 | 1575 | 1500 | 1 | 85 | info | 0 | 0 | 0 | 0 | 0 | 1
Networking | Networking | GTC160020 | Supermicro Layer 2/3 1/10G Ethernet SuperSwitch - SSE-G3648B/SSE-G3648BR | 1 | 1 | 1 | 1275 | 1575 | 1500 | N | 1 | 1575 | 1500 | 1 | 85 | info | 0 | 0 | 0 | 0 | 0 | 1
Networking | Cabling | GTC220025 | Mellanox Passive Copper Cable, 40GbE QSFP, 3m - MC2210128-003 | 14 | 14 | 14 | 46.75 | 57.75 | 55 | N | 1 | 808.5 | 770 | 0 | 0 | info | 0 | 0 | 0 | 0 | 0 | 0
Networking | Cabling | GTC220022 | Mellanox Passive Copper Hybrid Cable, 4x10GbE QSFP to 4xSFP+, 3m - MC2609130-003 | 10 | 10 | 10 | 79.05 | 97.65 | 93 | N | 1 | 976.5 | 930 | 0 | 0 | info | 0 | 0 | 0 | 0 | 0 | 0
Networking | Cabling | GTC220024 | Mellanox Passive Copper Cable, 40GbE QSFP, 1m - MC2210130-001 | 1 | 1 | 1 | 46.75 | 57.75 | 55 | N | 1 | 57.75 | 55 | 0 | 0 | info | 0 | 0 | 0 | 0 | 0 | 0
Networking | Cabling | GTC220026 | Mellanox Passive Copper Hybrid Cable, 10GbE QSFP to SFP+, 1m - MC2309130-001 | 2 | 2 | 2 | 34 | 42 | 40 | N | 1 | 84 | 80 | 0 | 0 | info | 0 | 0 | 0 | 0 | 0 | 0
Networking | Cabling | PATCH | Patch Cabling RJ45 | 94 | 94 | 94 | 0.85 | 1.05 | 1 | N | 1 | 98.7 | 94 | 0 | 0 | info | 0 | 0 | 0 | 0 | 0 | 0
Power | Cabling | POWER | Power Cabling C13-C14 | 35 | 35 | 35 | 1.19 | 1.47 | 1.4 | N | 1 | 51.45 | 49 | 0 | 0 | info | 0 | 0 | 0 | 0 | 0 | 0
Power | Power | PDU_8P | 1U Racktivity Device 8 ports - ES1108 | 0 | 0 | 0 | 170 | 210 | 200 | N | 1 | 0 | 0 | 1 | 6 | info | 0 | 0 | 0 | 0 | 0 | 0
Networking | Miscellaneous | GTC220029 | USB to RS232 DB9 Serial Adapter Cable, M/M - ICUSB232V2 | 3 | 3 | 3 | 10.2 | 12.6 | 12 | N | 1 | 37.8 | 36 | 0 | 0 | info | 0 | 0 | 0 | 0 | 0 | 0
|  | Total / chassis |  |  |  |  | 24728.2 | 30546.6 | 29092 |  |  |  |  | 4 | 470 |  | 0 | 0 | 0 | 0 | 0 | 6
|  | Total chassis / G8 |  | 1 |  |  | 24728.2 | 30546.6 | 29092 |  |  |  |  | 4 | 470 |  | 0 | 0 | 0 | 0 | 0 | 6
| Number of G8s: | 1 |  |  |  |  | Cost/pc (EUR) | Cost/pc NET (USD) | Cost/pc (USD) |  |  |  |  | U | Power |  | Storage SSD (TB) | STORAGE HDD (TB) | MEM (GB) for CPU | CORES for CPU | PASSMARK for CPU | QTY C14
[5 empty] | TOTAL / G8 |  | 271207.12 | 335020.56 | 319067.2 |  |  |  |  | 29 | 14806.4 |  | 132.34 | 1080 | 11872 | 1440 | 0 | 35
[5 empty] | GRAND TOTAL |  | 271207.12 | 335020.56 | 319067.2 |  |  |  | Using 0RU PDUs | 29 | [7 empty] | = per feed: 18
| TOTALS per cat | C | compute |  |  |  |  | 165480 | 157600
|  | H | san |  |  |  |  | 8085 | 7700
|  | S | storage |  |  |  |  | 122875.2 | 117024
|  | O | overhead |  |  |  |  | 8033.76 | 7651.2
|  | N | networking |  |  |  |  | 26264.7 | 25014
|  | SC | storage compute |  |  |  |  | 0 | 0
|  |  | nr network ports |  |  |  |  | 44 | [6 empty] | Assumed parameters from RAW to NET
|  |  | nr SSD |  |  |  |  | 80 | [6 empty] | SSD |  |  |  |  | 0.75
|  |  | ssd in compute |  |  |  |  | 1 | [6 empty] | HDD |  |  |  |  | 0.59259
|  |  | san in compute |  |  |  |  | 1 | [6 empty] | %MEM/CPU used for STORAGE |  |  |  |  | 10%
|  |  | san in storage |  |  |  |  | 6
[17 empty] | NET SSD | NET HDD | NET MEM | NET CORES | NET PSMRK
| TOTALS per cat after normalization | C | compute |  |  |  |  | 134038.8 | 127656 | [9 empty] | 8294.4 | 1166.4 | 0
|  | H | san |  |  |  |  | 39526.2 | 39141.2 | [7 empty] | 101637.12
|  | S | storage |  |  |  |  | 122875.2 | 117024 | [8 empty] | 640
|  | N | network |  |  |  |  | 26264.7 | 25014
|  | O | overhead |  |  |  |  | 8033.76 | 7651.2
Note on K1: Cost Category C = Compute H = SAN S = Storage
Note on C16: +lzonneke@racktivity.com need to be reliable nvme will get lots of beating -Kristof De Spiegeleer
Note on U61: 10% if arakoon is running on the cpu nodes -Jurgen Hofkens

## COMPONENTS
Reference | Category | Description | Cost/pc NET (EUR) | Cost/pc (EUR) | Cost/pc NET (USD) | Cost/pc (USD) | U | Power (W) | Storage SSD (TB) | STORAGE HDD (TB) | MEM | CORES | PASSMARK | QTY C14 |  |  | Reference (OLD)
. | . | [15 empty] | .
DELETE | Chassis | Motherboard + Xeon D + 4 nic (2 10gbit) + IPMI | 0 | 0 | 990 | 900 |  | 80 |  |  |  | 16 |  |  | http://www.supermicro.com/products/motherboard/xeon/d/x10sdv-tln4f.cfm |  | SO_MB_CPU
DELETE | Chassis | Motherboard + Xeon D + 4 nic (2 1gbit) + IPMI | 0 | 0 | 999.24 | 908.4 |  | 70 |  |  |  | 0 |  |  | http://www.supermicro.com/products/motherboard/Xeon/D/X10SDV-F.cfm |  | SO_MB_GIG Starter
DELETE | Chassis | Case 1U (4 disk slot) | 0 | 0 | 330 | 300 | 1 | 50 | [5 empty] | 0.5 | http://www.supermicro.com/products/chassis/1u/813/sc813mtq-350c.cfm |  | SO_Case
DELETE | Chassis | Case 1U (4 disk slot) Dual power supply | 0 | 0 | 550 | 500 | 1 | 50 | [5 empty] | 1 | http://www.supermicro.com/products/chassis/1U/813/SC813MTQ-R400C.cfm |  | SO_Case_2P
DELETE | Chassis | MicroCloud 28 nodes in 6U (for CPU Xeon D) including management module + 8 power supplies + 2 switch | 0 | 0 | 14300 | 13000 | 6 | 100 | [5 empty] | 2 | http://www.supermicro.nl/products/MicroBlade/enclosure/ |  | MC_28_Case
DELETE | Chassis | MicroBlade 2 xMobo, Intel Xeon D MBI-6218G-T41X - Dual 1Gb - Dual 10Gb - up to 128B RAM - 1xSSD | 0 | 0 | 2090 | 1900 |  | 20 | [6 empty] | http://www.supermicro.nl/products/MicroBlade/module/MBI-6218G-T41X.cfm |  | MC_blade_2CPU
DELETE | Chassis | MicroBlade 1 xMobo, Intel Xeon D MBI-6118G-T41X - Dual 1Gb - Dual 10Gb - up to 128B RAM - 3xSSD | 0 | 0 | 1199 | 1090 |  | 20 | [6 empty] | http://www.supermicro.nl/products/MicroBlade/module/MBI-6118G-T41X.cfm |  | MC_blade_1CPU
DELETE | Chassis | Converged Chassis + MB + NICS (4 nodes on 4 U, 2 CPU each) | 0 | 0 | 7150 | 6500 | 4 | 200 | [6 empty] | http://www.supermicro.nl/products/system/4U/F628/SYS-F628R3-RC1BPT_.cfm
DELETE | Chassis | Single Node Hyper Converged Chassis + MB (2 CPU) | 0 | 0 | 1650 | 1500 | 4 | 70 | [5 empty] | 1 | http://www.supermicro.com.tw/products/system/4U/7048/SYS-7048R-C1R.cfm |  | CNV_1Node
DELETE | Chassis | SuperMicro SuperServer 2028TR-H72FR - Twin 4 node chassis + MBs, 2CPU, 2U, 6 SSD each, 2 NVME, 2 nic | 0 | 0 | 6559.3 | 5963 | 2 | 200 | [5 empty] | 1 | http://www.supermicro.com.tw/products/system/2U/2028/SYS-2028TR-H72FR.cfm |  | CNV_Base
DELETE | Chassis | Fattwin 8 node chassis, 6 SSD each, 2 NVME, 1 nic | 0 | 0 | 9575.071 | 8704.61 | 4 | 80 | [5 empty] | 1 | http://www.supermicro.com/products/system/4U/F618/SYS-F618R2-RTN_.cfm |  | FT_Chassis_8
DELETE | Chassis | Aquarius T50 D38 | 0 | 0 | 1650 | 1500 | 2 | 100 | [5 empty] | 1 |  |  | Aquarius T50 D38
DELETE | Chassis | Blade for fatwin 8 node | 0 | 0 | 0 | 0 |  | 20 | [8 empty] | FT_Blade
DELETE | Chassis | Shuttle Mgmt Node with SSD & 16 GB Mem | 0 | 0 | 550 | 500 | 0.5 | [6 empty] | 1 | http://www.shuttle.eu/products/nano/nc01u5/ |  | MGMTNODE
DELETE | CPU | Intel Xeon D-1541 | 0 | 0 | 550 | 500 |  | 31.5 |  |  |  | 16 | 11909 |  |  |  | XEOND_16
DELETE | CPU | Intel Xeon D-1541 | 0 | 0 | 550 | 500 |  | 31.5 |  |  |  | 16 | 11909 |  |  |  | XEOND_32
DELETE | CPU | Intel Xeon D-1541 | 0 | 0 | 550 | 500 |  | 31.5 |  |  |  | 16 | 11909 |  |  |  | CPUE5_24
DELETE | CPU | Intel Xeon E5-2698 v3 (16C 2600) | 0 | 0 | 2860 | 2600 |  | 135 |  |  |  | 16 | 21000 |  |  |  | CPUE5_16_98
DELETE | CPU | Intel Xeon D-1541 | 0 | 0 | 550 | 500 |  | 31.5 |  |  |  | 16 | 11909 |  |  |  | CPUE5_44
DELETE | Memory | Samsung 16GB DDR4-2133 ECC REG 17000 2Rx4 LP RoHS | 0 | 0 | 132 | 120 |  | 6 | [8 empty] | MEM16lp
DELETE | Memory | 32GB DDR4-2133 ECC REG 17000 2Rx4 VLP RoHS | 0 | 0 | 385 | 350 |  | 7 |  |  | 32 |  |  |  | https://drive.google.com/drive/folders/0BxDW4Ld4PrHwaTFuVkV4QmExcUU |  | MEM32lp
DELETE | Storage - SSD | NVME 400 (17x day) | 0 | 0 | 825 | 750 |  | 6 | [6 empty] | http://www.intel.com/content/www/us/en/solid-state-drives/ssd-dc-p3700-spec.html |  | NVME400b
DELETE | Storage - SSD | Samsung 850 PRO - SSD 1000 GB SATA - MZ-7KE1T0 | 0 | 0 | 264 | 240 |  | 6 | 0.98 | [7 empty] | SSD1000e
DELETE | Storage - SSD | Intel® SSD DC S3610 Series (1.2TB, 2.5in SATA 6Gb/s, 16nm, MLC) | 0 | 0 | 1116.72 | 1015.2 |  | 6 | 1.2 | [5 empty] | http://ark.intel.com/products/82933/Intel-SSD-DC-S3610-Series-1_2TB-2_5in-SATA-6Gbs-20nm-MLC |  | SSD1200_Intel
DELETE | Storage - SSD | Micron M510DC , 960GB, SATA 6Gb/s, 16nm MLC 2.5" 7mm,1DWPD | 0 | 0 | 580.8 | 528 |  | 6 | 0.96 | [5 empty] | https://www.micron.com/products/datasheets/d16106ce-e7fd-4858-9e46-2981cc357c8e |  | SSD1000_Micron
DELETE | Storage - SSD | Micron M510DC , 480GB, SATA 6Gb/s, 16nm MLC 2.5" 7mm,1DWPD | 0 | 0 | 330 | 300 |  | 6 | 0.48 | [5 empty] | https://www.micron.com/products/datasheets/d16106ce-e7fd-4858-9e46-2981cc357c8e |  | SSD500_Micron
DELETE | Storage - SSD | SSD 800G for Sberbank | 0 | 0 | 550 | 500 |  | 6 | 0.8 | [7 empty] | SSD800
DELETE | Storage - SSD | 3.8 TB SSD | 0 | 0 | 1984.4 | 1804 |  | 6 | 3.8 | [7 empty] | SSD3800
DELETE | Storage - SSD | Intel DC P3600 400GB, NVMe PCIe 3.0, MLC | 0 | 0 | 770 | 700 |  | 6 | 0.4 | [5 empty] | http://ark.intel.com/products/80997/Intel-SSD-DC-P3600-Series-400GB-2_5in-PCIe-3_0-20nm-MLC |  | SSD04_NVMe
DELETE | Storage - SSD | Intel SSD DC P3600 1.2TB PCIE NVME 3.0 X4 2.5INCH | 0 | 0 | 1320 | 1200 |  | 20 | 1.2 | [7 empty] | SSD1200_NVMe
DELETE | Storage - SSD | Samsung 950 PRO M.2 256 | 0 | 0 | 220 | 200 |  | 6 | [6 empty] | http://www.samsung.com/global/business/semiconductor/minisite/SSD/global/html/ssd950pro/specifications.html |  | m2_250
DELETE | Storage - SSD | Transcend MTS800 - Solid state drive - 512 GB - | 0 | 0 | 252.12 | 229.2 |  | 6 | [6 empty] | http://www.amazon.com/Transcend-512GB-MTS800-Solid-TS512GMTS800/dp/B00KLTPVV8 |  | m2_500_Transcend
DELETE | Storage - SSD |  | 0 | 0 | 24.75 | 22.5 | [8 empty] | http://www.ecprodumall.net/sa164-m2-ngff-pcie-ssd-to-pcie-x4-ngff-sata-adapter-for-samsung-xp941with-low-profile-bracket-p-182.html |  | m2_riser
DELETE | Storage - SSD | internal - M.2 - SATA 6Gb/s | 0 | 0 | 0 | 0
DELETE | Storage - HDD | 3 TB disk | 0 | 0 | 165 | 150 |  | 10 |  | 3 |  |  |  |  | http://www.hgst.com/hard-drives/enterprise-hard-drives/enterprise-sata-drives/ultrastar-7k4000 |  | HD3
DELETE | Storage - HDD | 3 TB disk Archive | 0 | 0 | 110 | 100 |  | 10 |  | 3 |  |  |  |  | http://www.hgst.com/hard-drives/enterprise-hard-drives/enterprise-sata-drives/ultrastar-7k4000 |  | HD3A
DELETE | Storage - HDD | HGST Mars-KP HUS724040ALA640 | 0 | 0 | 253 | 230 |  | 10 |  | 4 |  |  |  |  | http://www.hgst.com/hard-drives/enterprise-hard-drives/enterprise-sata-drives/ultrastar-7k4000 |  | HD4
DELETE | Storage - HDD | 4 TB disk Archive | 0 | 0 | 198 | 180 |  | 10 |  | 4 |  |  |  |  | http://www.hgst.com/hard-drives/enterprise-hard-drives/enterprise-sata-drives/ultrastar-7k4000 |  | HD4A
DELETE | Storage - HDD | Seagate drive Makara - ST6000NM0024 | 0 | 0 | 308 | 280 |  | 6 |  | 6 |  |  |  |  | http://www.newegg.com/Product/Product.aspx?Item=N82E16822178522 |  | HD6A
DELETE | Storage - HDD | Seagate ST8000NM0075 8 TB disk (SAS3) | 0 | 0 | 387.2 | 352 |  | 6 |  | 8 |  |  |  |  | http://www.amazon.com/HGST-Ultrastar-HUH728080ALE600-Platform-Enterprise/dp/B00SA3N4TI |  | HD8
DELETE | Storage - HDD |  | 0 | 0 | 253 | 230 |  | 6 |  | 8 |  |  |  |  | http://www.seagate.com/gb/en/products/enterprise-servers-storage/nearline-storage/archive-hdd/ |  | HD8A
DELETE | Networking | Dual Port 10 Gbit NIC Intel | 0 | 0 | 495 | 450 | [8 empty] | http://www.intel.com/content/www/us/en/network-adapters/converged-network-adapters/ethernet-x540.html
DELETE | Networking | OVC Switch 5 ports (slow but capable 5 port router, gbit switch) | 0 | 0 | 88 | 80 | 1 | 7 | [5 empty] | x | http://routerboard.com/RB951G-2HnD |  | SW5
DELETE | Networking | OVC Switch 8 ports (3.6 gbit/sec firewall + ultra fast switch) | 0 | 0 | 440 | 400 | 1 | 35 | [5 empty] | x | http://routerboard.com/CCR1009-8G-1S-1Splus |  | SW8
DELETE | Networking | OVC Switch 8 ports (12 gbit/sec firewall + ultra fast switch) | 0 | 0 | 913 | 830 | 1 | 78 | [5 empty] | x | http://routerboard.com/CCR1036-8G-2Splus |  | SW8F
DELETE | Networking | OVC Switch 24 ports (for OOB network, slow router) | 0 | 0 | 220 | 200 | 1 | 15 | [5 empty] | 1 | http://routerboard.com/CRS125-24G-1S-RM |  | SW24
DELETE | Networking | Netgear 10 gbit switch 12 ports | 0 | 0 | 1633.5 | 1485 | 1 | 98.2 | [5 empty] | x | http://www.downloads.netgear.com/files/GDC/datasheet/en/GS516TP-GS728TP-GS728TPP-GS752TP.pdf |  | SW12_10g
DELETE | Networking | Netgear 1 gbit switch 48 ports | 0 | 0 | 880 | 800 | 1 | 100 | [5 empty] | x |  |  | SW48_1g
DELETE | Networking | Mellanox 12-port Non-blocking infiniband switch | 0 | 0 | 2750 | 2500 | 1 | 48 | [5 empty] | 2 | http://www.mellanox.com/page/products_dyn?product_family=163&mtag=sx1012 |  | SW_M48i
DELETE | Networking | Mellanox 36-port Non-blocking 40/56GbE Open Ethernet Switch System | 0 | 0 | 18150 | 16500 |  | 100 | [5 empty] | x | http://www.mellanox.com/page/products_dyn?product_family=115&mtag=sx1036 |  | SW_M128
DELETE | Networking | Mellanox ConnectX-3 EN MCX313A-BCBT (40 gbit single port) | 0 | 0 | 385 | 350 | [7 empty] | x | https://www.mellanox.com/related-docs/prod_adapter_cards/PB_ConnectX-3_Pro_Card_EN.pdf |  | nic40gb
DELETE | Networking | QuantaMesh T3040-LY3 | 0 | 0 | 8690 | 7900 | 1 | 376 | [5 empty] | x | http://www.quantaqct.com/Product/Networking/Ethernet-Switches/T3000-Series/QuantaMesh-T3040-LY3-p36c77c75c158c205 | ??? to be checked ??? | SW_Q48
DELETE | Networking | QuantaMesh T5032-LY6 | 0 | 0 | 8690 | 7900 | 1 | 400 | [5 empty] | x | http://www.quantaqct.com/Product/Networking/Ethernet-Switches/T5000-Series/QuantaMesh-T5032-LY6-p41c77c75c158c206 |  | SW_Q128
DELETE | Networking | SUPERMCRO I/O CARD AOC-CIBQ-M1 FATTWIN IB 40Gb IB or 10Gb RDMA add-onn | 0 | 0 | 597.3 | 543 | [8 empty] | http://www.supermicro.com/products/accessories/addon/AOC-CIBQ-m1.cfm |  | nic40gb_FT
DELETE | Power | OVC controller (3 redundant nodes) | 0 | 0 | 66 | 60 | [10 empty] | WIS
DELETE | Miscellaneous | Basic Installation & Logistics (external cost) | 0 | 0 | 0 | 0 | [10 empty] | INST
DELETE | Miscellaneous | Basic Installation & Logistics (external cost) | 0 | 0 | 0 | 0 | [10 empty] | INST2
DELETE | Miscellaneous | Virtual SAN Storage SW (OVS) per TB SAN | 0 | 0 | 0 | 0 | [10 empty] | OVS_S
DELETE | Miscellaneous | Virtual SAN Storage SW (OVS) per TB Object | 0 | 0 | 0 | 0 | [10 empty] | OVS_B
GTC100001 | Chassis | Gooxi Management Chassis, 1U, 3 nodes - SY103-S06 | 1307.25 | 1245 | 1144.5 | 1090 | 1 | 300 | [5 empty] | 2 | http://en.gooxi.com/product/2014/0627/40.html |  | MGMTNODE_BB
GTC100002 | Chassis | QuantaPlex Storage Chassis, 4U, 2 nodes, 70+4 disks - T21P-4U | 5250 | 5000 | 5848.5 | 5570 | 4 | 100 | [5 empty] | 4 | https://www.qct.io/product/index/Storage/Storage-Server/4U-Storage-Server/QuantaPlex-T21P-4U | QCT Storage Server T21P-4U 4U Twin Dual Xeon E5v3 Ultra high density storage server with 70 x 3,5 Hotswap | STOR70
GTC100003 | Chassis | Supermicro SuperServer Chassis, 2U, 4 nodes - SYS-2028TR-HTR | 2625 | 2500 | 3393.39 | 3231.8 | 2 | 444 | [5 empty] | 2 | https://www.supermicro.nl/products/system/2U/2028/SYS-2028TR-HTR.cfm |  | CNV_BASE_NoNVME
GTC100005 | Chassis | Supermicro SuperServer Chassis, 1U, 1 node, NVMe support - SYS-1028R-WTNR | 1261.722 | 1201.64 | 1376.55 | 1311 | 1 | 50 | [5 empty] | 2 | http://www.supermicro.nl/products/system/1U/1028/SYS-1028R-WTNR.cfm |  | SO_Case_1U
GTC100006 | Chassis | Supermicro SuperServer Chassis, 1U, 1 node - SYS-1028R-WTR | 1265.7855 | 1205.51 | 1376.55 | 1311 | 1 | 50 | [5 empty] | 2 | http://www.supermicro.nl/products/system/1U/1028/SYS-1028R-WTR.cfm |  | SO_Case_1U_noNVME
GTC100007 | Chassis | Supermicro SuperStrorage Chassis 4U, 6048R-E1CR36L | 2795.1 | 2662 | 3288.3529 | 3131.7647 | 4 | 100 | [5 empty] | 1 | https://www.supermicro.com/products/system/4u/6048/ssg-6048r-e1cr36n.cfm
GTC100008 | Chassis | Supermicro Superserver 1U, SYS-5019S-WR | 1438.5 | 1370 | 1692.3529 | 1611.7647 | 1 | 81 | [5 empty] | 1 | https://www.supermicro.com/products/system/1U/5019/SYS-5019S-WR.cfm
GTC100009 | Chassis | SuperServer 2029BT-HNTR - including assembly and accessories | 3927 | 3740 | 4620 | 4400 | 2 | 200 | [5 empty] | 4 | https://www.supermicro.com/products/system/2U/2029/SYS-2029BT-HNTR.cfm
GTC100010 | Chassis | SuperStorage 6029P-E1CR24H - including assembly and accessories | 3570 | 3400 | 4200 | 4000 | 2 | 525 | [5 empty] | 1 | https://www.supermicro.com/products/system/2U/6029/SSG-6029P-E1CR24H.cfm
GTC100011 | Chassis | SuperServer 5019C-MR | 1338.75 | 1275 | 1575 | 1500 | 1 | 100 | [5 empty] | 1 | https://www.supermicro.com/products/system/1U/5019/SYS-5019C-MR.cfm
GTC100012 | Chassis | SuperServer 2029BT-HNR - including assembly and accessories | 3927 | 3740 | 4620 | 4400 | 2 | 200 | [5 empty] | 4 | https://www.supermicro.com/products/system/2U/2029/SYS-2029BT-HNR.cfm
GTC110001 | CPU | Intel Xeon Processor, 3.10GHz, 8MB cache, LGA1150 - E3-1220V3 | 210 | 200 | 210 | 200 |  | 56 |  |  |  | 4 | 6500 |  |  |  | CPUE3
GTC110004 | CPU | Intel Xeon Processor, 2.20Ghz, 25MB cache, LGA2011-3 - E5-2630V4 | 748.65 | 713 | 703.5 | 670 |  | 59.5 |  |  |  | 20 | 14900 |  |  |  | CPUE5_20
GTC110005 | CPU | Intel Xeon Processor, 2.00GHz, 35MB cache, LGA2011-3 - E5-2660V4 | 1344 | 1280 | 1621.2 | 1544 |  | 73.5 |  |  |  | 28 | 19303.2 |  |  |  | CPUE5_28
GTC110006 | CPU | Intel Xeon Processor, 2.10GHz, 20MB cache, LGA2011-3 - E5-2620V4 | 425.481 | 405.22 | 451.5 | 430 |  | 59.5 |  |  |  | 12 | 11000 |  |  |  | CPUE5_16
GTC110007 | CPU | Intel Xeon Processor, 2.40GHz, 35MB cache, LGA2011-3 - E5-2680V4 | 0 | 0 | 2296.14 | 2186.8 |  | 84 |  |  |  | 28 | 21448 |  |  |  | CPUE5_28_2.4
GTC110008 | CPU | Intel Skylake P4X-SKL5120-SR3GD intel XEON GOLD 5120 | 1428 | 1360 | 1680 | 1600 |  | 105 |  |  |  | 28 | 16308 |  | https://ark.intel.com/content/www/us/en/ark/products/120474/intel-xeon-gold-5120-processor-19-25m-cache-2-20-ghz.html
GTC110009 | CPU | Intel Skylake P4X-SKL4114-SR3GK intel XEON SILVER 4114 | 678.3 | 646 | 798 | 760 |  | 85 |  |  |  | 20 |  |  | https://ark.intel.com/content/www/us/en/ark/products/123550/intel-xeon-silver-4114-processor-13-75m-cache-2-20-ghz.html
GTC110010 | CPU | Intel P4X-UPE2124-SR3WQ intel XEON E 2124 | 176.715 | 168.3 | 207.9 | 198 |  | 71 |  |  |  | 8 |  |  | https://ark.intel.com/content/www/us/en/ark/products/134856/intel-xeon-e-2124-processor-8m-cache-up-to-4-30-ghz.html
GTC110011 | CPU | Intel Cascade Lake P4x-CLX5220-SRFBJ Intel Xeon GOLD 5220 | 1428 | 1360 | 1680 | 1600 |  | 105 |  |  |  | 36
GTC110012 | CPU | Intel Cascade Lake P4X-CLX4214-SRFB9 Intel Xeon SILVER 4214 | 633.675 | 603.5 | 745.5 | 710 |  | 85 |  |  |  | 24
GTC120001 | Memory | Samsung Memory, 16GB, DDR4-2133 - M393A2G40DB0-CPB | 84.672 | 80.64 | 98.175 | 93.5 |  | 6 |  |  | 16 |  |  |  | http://www.newegg.com/Product/Product.aspx?Item=N82E16820147382 |  | MEM16
GTC120003 | Memory | Samsung Memory, 8GB, DDR3-1866 - M391B1G73QH0-CMA | 78.75 | 75 | 94.5 | 90 |  | 6 |  |  | 8 |  |  |  | http://www.amazon.com/Samsung-Memory-DDR4-Registered-M393A1G40DB0-CPB/dp/B00MDZN3RC | Samsung 8GB DDR4-2133 ECC REG 17000 1Rx4 LP RoHS | MEM8_3
GTC120006 | Memory | Samsung Memory, 32GB, DDR4-2400 - M393A4K40BB1-CRC | 384.3 | 366 | 343.035 | 326.7 |  | 7 |  |  | 32 |  |  |  | M393A4K40BB1-CRC |  | MEM32
GTC120009 | Memory | Samsung Memory, 8GB, DDR4-2133 - M393A1G40DB0-CPB | 0 | 0 | 57.75 | 55 |  | 6 |  |  | 8 |  |  |  | http://www.amazon.com/Samsung-Memory-DDR4-Registered-M393A1G40DB0-CPB/dp/B00MDZN3RC | Samsung 8GB DDR4-2133 ECC REG 17000 1Rx4 LP RoHS | MEM8
GTC120010 | Memory | Samsung Memory, 64GB, DDR4-2400 - M386A8K40BM1-CRC | 624.75 | 595 | 714 | 680 |  | 15 |  |  | 64 | [5 empty] | MEM64
GTC120011 | Memory | Samsung Memory , 32GB, Supermicro OEM, MEM-DR432L-SL03-ER26 | 199.0275 | 189.55 | 234.15 | 223 |  | 7 |  |  | 32 |  |  |  | https://store.supermicro.com/32gb-ddr4-2666-mem-dr432l-sl03-er26.html
GTC120012 | Memory | Samsung Memory, 64GB, Supermicro OEM, MEM-DR464L-SL03-LR26 | 365.925 | 348.5 | 430.5 | 410 |  | 15 |  |  | 64 |  |  |  | https://store.supermicro.com/64gb-ddr4-2666-mem-dr464l-hl01-lr26.html
GTC120013 | Memory | Samsung Memory, 8Gb, Supermicro OEM, MEM-DR480L-HL01-EU26 | 66.045 | 62.9 | 77.7 | 74 |  | 6 |  |  | 8 |  |  |  | https://store.supermicro.com/8gb-ddr4-2400-mem-dr480l-hl01-un24.html
GTC120015 | Memory | Micron Memory 128Gb, Supermicro OEM, MEM-DR412L-CL02-ER26 | 1785 | 1700 | 2100 | 2000 |  | 6 |  |  | 128
GTC130002 | Storage - HDD | Seagate HDD, 8TB, 3.5", SATA - ST8000NM0055 | 317.8665 | 302.73 | 367.5 | 350 |  | 7.5 |  | 8 |  |  |  |  | http://www.seagate.com/be/nl/internal-hard-drives/enterprise-hard-drives/hdd/enterprise-capacity-3-5-hdd/?cmpid=friendly-_-pr-enterprise-capacity-3_5-us |  | HD8_SATA
GTC130005 | Storage - SSD | Samsung SSD, 950 PRO, 512GB, M.2, NVMe - MZ-V5P512BW | 317.8665 | 302.73 | 399 | 380 |  | 6 | [6 empty] | http://www.samsung.com/global/business/semiconductor/minisite/SSD/global/html/ssd950pro/specifications.html |  | m2_500
GTC130006 | Storage - HDD | Seagate HDD, 6TB, 3.5", SAS - ST6000NM0034 | 317.8665 | 302.73 | 291.06 | 277.2 |  | 6 |  | 6 | [6 empty] | HD6
GTC130012 | Storage - SSD | OBSOLETE - Samsung SSD, PM863, 480GB, 2.5", SATA, PM863 - MZ-7LM480 | 224.7 | 214 | 291.06 | 277.2 |  | 6 | 0.47 | [5 empty] | http://www.samsung.com/global/business/semiconductor/minisite/SSD/global/html/ssdpm863/specifications.html |  | SSD500
GTC130013 | Storage - SSD | Samsung SSD, PM863a, 480GB, 2.5", SATA, PM863a - MZ7LM480HMHQ | 262.5 | 250 | 291.06 | 277.2 |  | 6 | 0.47
GTC130016 | Storage - SSD | Samsung SSD, PM863a, 960GB, 2.5", SATA - MZ-7LM960N | 399 | 380 | 588 | 560 |  | 6 | 0.98 | [7 empty] | SSD1000
GTC130017 | Storage - NVMe | Intel SSD, DC P3600, 800GB, 2.5", PCIe - SSDPE2ME800G401 | 624.75 | 595 | 660.66 | 629.2 |  | 6 | [6 empty] | http://www.intel.com/content/www/us/en/solid-state-drives/ssd-dc-p3600-spec.html |  | NVME800
GTC130022 | Storage - NVMe | Intel SSD, DC P4600, 2TB, 2.5", PCIe - SSDPE2KE02027 | 1389.15 | 1323 | 1528.065 | 1455.3 |  | 5 | 2
GTC130018 | Storage - HDD | Seagate HDD, 10TB, 3.5", SATA - ST10000NM0016 | 267.75 | 255 | 315 | 300 |  | 6.8 |  | 10 | [6 empty] | HD10_SATA
GTC130007 | Storage - HDD | Seagate 3.5”, 12TB, SAS-3 12Gb/s, 7.2K RPM, 256M, 512E, Performance (TATSU) ST12000NM0027 | 328.94 | 328.94 | 405 | 405 |  | 10 |  | 12
GTC130019 | Storage - SSD | Samsung SSD, 850 PRO, 256GB, 2.5", SATA - MZ-7KE256BW | 141.75 | 135 | 131.25 | 125 |  | 6 | 0.25 | [5 empty] | http://www.samsung.com/global/business/semiconductor/minisite/SSD/global/html/ssdpm863/specifications.html |  | SSD250PRO
GTC130020 | Storage - NVMe | Intel SSD, DC P3600, 400GB, NVMe PCIe 3.0 - SSDPEDME400G401 | 258.825 | 246.5 | 304.5 | 290 |  | 6 | [6 empty] | http://www.intel.com/content/www/us/en/solid-state-drives/ssd-dc-p3600-spec.html |  | NVME400
GTC130021 | Storage - HDD | Seagate HDD, 6TB, 3.5", SATA - ST6000NM0055 | 223.125 | 212.5 | 262.5 | 250 |  | 6 |  | 6 |  |  |  |  | http://www.seagate.com/be/nl/internal-hard-drives/enterprise-hard-drives/hdd/enterprise-capacity-3-5-hdd/?cmpid=friendly-_-pr-enterprise-capacity-3_5-us |  | HD6_SATA
GTC130025 | Storage - SSD | Intel SSD, D3-S4610, 960GB SATA 6Gb/s 3D TLC 2.5" 7mm 3DWPD | 223.125 | 212.5 | 262.5 | 250 |  | 3 | 0.98 | [5 empty] | https://ark.intel.com/content/www/us/en/ark/products/134917/intel-ssd-d3-s4610-series-960gb-2-5in-sata-6gb-s-3d2-tlc.html
GTC130026 | Storage - SSD | Intel SSD, D3-S4610 480GB SATA 6Gb/s 3D TLC 2.5" 7mm 3DWPD | 124.95 | 119 | 147 | 140 |  | 3 | 0.48 | [5 empty] | https://ark.intel.com/content/www/us/en/ark/products/134919/intel-ssd-d3-s4610-series-480gb-2-5in-sata-6gb-s-3d2-tlc.html
GTC130027 | Storage - NVMe | Intel DC P4510 1TB NVMe PCI-E 3.1 x4 3D TLC 2.5" 15mm 1DWPD | 223.125 | 212.5 | 262.5 | 250 |  | 8 | 1 | [5 empty] | https://www.intel.com/content/www/us/en/products/memory-storage/solid-state-drives/data-center-ssds/dc-p4510-series/dc-p4510-1tb-2-5inch-3d2.html
GTC130028 | Storage - NVMe | Intel® SSD DC P4101 Series - 1TB, M.2 80mm PCIe 3.0 x4, 3D2, TLC | 343.6125 | 327.25 | 404.25 | 385 |  | 8 | 1 | [5 empty] | https://ark.intel.com/content/www/us/en/ark/products/148630/intel-ssd-dc-p4101-series-1-024tb-m-2-80mm-pcie-3-0-x4-3d2-tlc.html
GTC160001 | NIC | Mellanox ConnectX-3 Network Interface Card, 10GbE, dual-port SFP+ - MCX312A-XCBT | 215.25 | 205 | 296.835 | 282.7 | [8 empty] | https://www.mellanox.com/related-docs/prod_adapter_cards/ConnectX3_EN_Card.pdf |  | nic10gb
GTC160005 | NIC | Mellanox ConnectX-3 Network Interface Card, 40GbE, dual-port QSFP - MCX314A-BCCT | 430.5 | 410 | 483 | 460 | [8 empty] | #VALUE! |  | nic40gb2
GTC160017 | NIC | Mellanox ConnectX-4 Network Interface Card, 10GbE, dual-port SFP+ - MCX412A-XCAT | 215.25 | 205 | 236.775 | 225.5
GTC160018 | NIC | Supermicro SIOM, 25GbE, ConnectX-4 | 267.75 | 255 | 315 | 300 | [8 empty] | https://www.supermicro.com/products/accessories/addon/AOC-MH25G-m2S2T.cfm
GTC160019 | NIC | Supermicro Add-On Card - AOC-MHIBF-m2Q2G - ConnectX-3 - 40GbE | 580.125 | 552.5 | 682.5 | 650 | [8 empty] | https://www.supermicro.com/products/accessories/addon/AOC-MHIBF-m2Q2G.cfm
GTC160027 | NIC | Supermicro SIOM, 100GbE, ConnectX-4 VPI | 892.5 | 850 | 1050 | 1000 |  | 50 | [6 empty] | https://www.supermicro.com/products/accessories/addon/AOC-MHIBE-m1CG.cfm
GTC160024 | NIC | Mellanox ConnectX-4 Network Interface Card, 100GbE, dual port PCIE - MCX456A-ECAT | 892.5 | 850 | 1050 | 1000 |  | 50 | [6 empty] | http://www.mellanox.com/page/products_dyn?product_family=201&mtag=connectx_4_vpi_card
GTC160025 | NIC | Mellanox ConnectX-4 Network Interface Card, 100GbE, single port PCIE - MCX456A-ECAT | 669.375 | 637.5 | 787.5 | 750 |  | 50 | [6 empty] | https://store.mellanox.com/products/mellanox-mcx455a-ecat-connectx-4-vpi-adapter-card-edr-ib-and-100gbe-single-port-qsfp28-pcie3-0-x16-rohs-r6.html
GTC160026 | NIC | Supermicro SIOM, 1GbE-RJ45 AOC-MGP-i2 | 62.475 | 59.5 | 73.5 | 70 |  | 15
GTC160006 | Networking | Mellanox Ethernet Switch, 12-port, 40/56GbE, half-width - MSX1012 | 6945.75 | 6615 | 6300 | 6000 | 1 | 48 | [5 empty] | 2 | http://www.mellanox.com/page/products_dyn?product_family=163&mtag=sx1012 |  | SW_M48
GTC160023 | Networking | Mellanox Ethernet Switch , MSN2100-BB2F 16-port 40Gb | 5974.5 | 5690 | 7028.7 | 6694 | 1 | 48 | [5 empty] | 2
GTC160014 | Networking | Cisco Smart Switch, 26 ports, Gb, SG220-26-K9-EU | 299.25 | 285 | 241.5 | 230 | 1 | 96 | [5 empty] | 1 | http://www.cisco.com/c/en/us/support/switches/sg200-26-26-port-gigabit-smart-switch/model.html |  | SW26
GTC160015 | Networking | Cisco Smart Switch, 50 ports, Gb, SG220-50-K9-EU | 651 | 620 | 735 | 700 | 1 | 96 | [5 empty] | 1 | http://www.cisco.com/c/en/us/support/switches/sg220-50-50-port-gigabit-smart-plus-switch/model.html |  | SW48
GTC160016 | Networking | Mellanox Ethernet Switch, 36-port, 40/56GbE, full-width - MSN2700-BS2R | 9196.2045 | 8758.29 | 10500 | 10000 | 1 | 150 | [5 empty] | 2 | http://www.mellanox.com/related-docs/prod_eth_switches/PB_SN2700.pdf |  | SW_M2700
GTC160020 | Networking | Supermicro Layer 2/3 1/10G Ethernet SuperSwitch - SSE-G3648B/SSE-G3648BR | 1338.75 | 1275 | 1575 | 1500 | 1 | 85 | [5 empty] | 1 | https://www.supermicro.com/products/accessories/Networking/SSE-G3648B.cfm
GTC160021 | Networking | Mellanox Etheret Switch, 36-port,100GbE, full width - MSN2700-CS2R | 29452.5 | 28050 | 34650 | 33000 | 1 | 150 | [5 empty] | 1 | https://store.mellanox.com/products/mellanox-msn2700-cs2r-spectrum-100gbe-1u-open-ethernet-switch-with-mellanox-onyx-32-qsfp28-ports-2-power-supplies-ac-x86-cpu-standard-depth-c2p-airflow-rail-kit-rohs6.html
GTC200001 | Miscellaneous | Mellanox Rack Installation Kit for SX1012 - MSX60-DKIT | 194.25 | 185 | 163.8 | 156 | [8 empty] | https://store.mellanox.com/products/mellanox-msx60-dkit-rack-installation-kit-for-switchx-2-12-ports-series-short-depth-1u-switches-allows-installation-of-one-or-two-switches-side-by-side-into-standard-depth-racks.html |  | ACC-002
GTC200002 | Miscellaneous | Mellanox Rack Installation Kit for SN Series | 446.25 | 425 | 525 | 500
GTC200005 | Miscellaneous | Mellanox Rack installation kit for switches | 237.3 | 226 | 279.09 | 265.8
GTC220022 | Cabling | Mellanox Passive Copper Hybrid Cable, 4x10GbE QSFP to 4xSFP+, 3m - MC2609130-003 | 78.75 | 75 | 97.65 | 93 | [8 empty] | http://www.mellanox.com/pdf/prod_cables/Hybrid_Passive_QSFP_4x_SFP_10Gbs_Cables.pdf |  | qsfp_4
GTC220024 | Cabling | Mellanox Passive Copper Cable, 40GbE QSFP, 1m - MC2210130-001 | 54.6 | 52 | 57.75 | 55 | [8 empty] | https://store.mellanox.com/products/mellanox-mc2210130-001-passive-copper-cable-ethernet-40gbe-qsfp-1m.html
GTC220025 | Cabling | Mellanox Passive Copper Cable, 40GbE QSFP, 3m - MC2210128-003 | 54.6 | 52 | 57.75 | 55 | [8 empty] | http://www.mellanoxstore.com/products/mellanox-mc2206130-001-passive-copper-cable-ib-qdr-fdr10-40gb-s-qsfp-1m.html |  | qsfp_1
GTC220026 | Cabling | Mellanox Passive Copper Hybrid Cable, 10GbE QSFP to SFP+, 1m - MC2309130-001 | 33.6 | 32 | 42 | 40 | [8 empty] | https://store.mellanox.com/products/mellanox-mc2309130-001-passive-copper-hybrid-cable-ethernet-10gbe-qsfp-to-sfp-1m.html
GTC220050 | Cabling | Mellanox Pasive Copper Hybrid Cable, 100GbE QSFP28, 3m | 129.4125 | 123.25 | 152.25 | 145 | [8 empty] | https://store.mellanox.com/products/mellanox-mcp1600-c003e26n-passive-copper-cable-eth-100gbe-qsfp28-3m-black-26awg-ca-n.html
GTC220029 | Miscellaneous | USB to RS232 DB9 Serial Adapter Cable, M/M - ICUSB232V2 | 13.797 | 13.14 | 12.6 | 12 | [8 empty] | https://www.startech.com/be/Cards-Adapters/Serial-Cards-Adapters/USB-to-RS232-Serial-Adapter-Cable~ICUSB232V2
GTC230005 | Miscellaneous | QuantaPlex T21P Slot 2 Mezz LSI 3008 HBA | 215.25 | 205 | 0 | 0
GTC240001 | Miscellaneous | Mellanox Technical Support and Warranty for MSX1012 - Silver 3 Year | 556.5 | 530 | 672 | 640 | [10 empty] | SW_M12_SP
GTC240002 | Miscellaneous | Mellanox Technical Support and Warranty for MSN2700-BS2R - Silver 3 Year | 1364.37 | 1299.4 | 1615.95 | 1539
GTC240003 | Miscellaneous | Mellanox Technical Support and Warranty - Silver 3 Year with NBD On-Site Support | 607.95 | 579 | 715.05 | 681
KEEP - SSD2000 | Storage - SSD | 2 TB SSD | 0 | 0 | 947.1 | 902 |  | 6 | 2 | [5 empty] | http://www.samsung.com/global/business/semiconductor/minisite/SSD/global/html/ssdpm863/specifications.html |  | SSD2000
KEEP - SSD2000_NVMe | Storage - NVMe | Intel SSD DC P3600 2TB PCIE NVME 3.0 X4 2.5INCH | 0 | 0 | 2100 | 2000 |  | 20 | 2 | [7 empty] | SSD2000_NVMe
KEEP - STOR_NVME | Chassis | 2028U-TN24R4T+ (2U, 24 NVME disks) | 0 | 0 | 3675 | 3500 | 2 | 100 | [5 empty] | 2 | http://www.supermicro.com.tw/products/system/2u/2028/SYS-2028U-TN24R4T_.cfm |  | STOR_NVME
PDU_24P | Power | 0U Racktivity Device 24 ports | 0 | 0 | 630 | 600 | 0 | 6 | [6 empty] | http://www.racktivity.com/products/rack-power-management |  | R24
PDU_8P | Power | 1U Racktivity Device 8 ports - ES1108 | 0 | 0 | 210 | 200 | 1 | 6 | [6 empty] | http://www.racktivity.com/products/rack-power-management |  | R8
PATCH | Cabling | Patch Cabling RJ45 | 1.155 | 1.1 | 1.05 | 1 | [10 empty] | RJ45_Cable
POWER | Cabling | Power Cabling C13-C14 | 1.68 | 1.6 | 1.47 | 1.4
Note on G12: +lzonneke@racktivity.com need to check price & where we can order it NOW -Kristof De Spiegeleer requested pricing and availability for this chassis -Lesley Zonnekein got pricing from Roel, barebone, no cpu no mem, 5260 EUR, to be clear this casing is for 6xSSD's or 4xSSD+2xNVMe per node, there are 3 in stock for now so we could have those in one week if ordering today -Lesley Zonnekein
Note on P12: +kristof@incubaid.com https://www.supermicro.nl/products/system/2U/2028/SYS-2028TP-HTR.cfm this is what I propose: 3600 USD -Lesley Zonnekein
Note on G65: @lesley can we check this -Kristof De Spiegeleer +lesley.zonnekein@greenitglobe.com -Kristof De Spiegeleer pricing is 1255 Eur so 1422 USD -Lesley Zonnekein

## CPU
|  | $$$ | physical cores | logical cores | Frequency | Turbo Frequency | Mem Channels | L2 Cache | L3 Cache | Mem BW | MAX GB Mem | Max Power | Passmark
DELETE | Intel Xeon D-1541 | 500 | 8 | 16 | 2100 | 2700 | 2 | 2.048 | 12 |  | 128 | 45 | 11909 | info
DELETE | Intel Xeon D-1581 | 1500 | 16 | 32 | 1800 | 2400 | 2 | 4.096 | 24 |  | 128 | 60 | 20840.75
GTC110006 | Intel Xeon E5-2620 v4 (C16 2100) | 430 | 6 | 12 | 2100 | 3000 | 4 | 2.048 | 20 | 68 | 1536 | 85 | 11000
GTC110004 | Intel Xeon E5-2630 v4 (20C 2400) | 670 | 10 | 20 | 2400 | 3100 | 4 | 2.56 | 25 | 68.3 | 1536 | 85 | 14900 | link
DELETE | Intel Xeon E5-2650 v4 (24C 2400) | 1200 | 12 | 24 | 2400 | 3400 | 4 | 2.56 | 25 | 68.3 | 1536 | 90 | 16000 | link
GTC110005 | Intel Xeon E5-2660 v4 (28C 2000) | 1650 | 14 | 28 | 2000 | 3200 | 4 | 3.584 | 35 | 76.8 | 1536 | 105 | 19303.2 | link
GTC110007 | Intel Xeon E5-2680 v4 (28C 2400) | 2186.8 | 14 | 28 | 2400 | 3400 | 4 | 3.584 | 35 | 76.8 | 1536 | 120 | 21448 | link
DELETE | Intel Xeon E5-2699 v4 (44C 2200) | 4526.5 | 22 | 44 | 2200 | 3600 | 4 | 5.632 | 55 | 76.8 | 1536 | 145 | 21277 | link
GTC110001 | Intel E3 1220 v3 | 200 | 4 | 4 | 3100 | 3300 | 2 | 1.024 | 8 | 25.6 | 32 | 80 | 6500 | info
Performance | Passmark List |  | passmark | passmark single | freq | freq tot | $ per 1000 Mhz | MB overhead | nr CPU | $ per 1000 passmark total | mhz/passm
| Intel Xeon D-1541 | 500 | 11909 | 1505 | 2100 | 38400 | 13.0208 | 500 | 1 | 83.9701 | 3.2245
| Intel Xeon D-1581 | 1500 | 20840.75 |  | 1800 | 67200 | 22.3214 | 500 | 1 | 95.9658 | 3.2245
| Intel Xeon E5-2620 v4 (C16 2100) | 430 | 11000 | 1120 | 2100 | 30600 | 14.0523 | 500 | 1.8 | 64.3434 | 2.7818
| Intel Xeon E5-2630 v4 (20C 2400) | 670 | 14900 |  | 2400 | 55000 | 12.1818 | 800 | 1.8 | 74.7949 | 3.6913
| Intel Xeon E5-2650 v4 (24C 2400) | 1200 | 16000 | 1860 | 2400 | 69600 | 17.2414 | 800 | 1.8 | 102.7778 | 4.35
| Intel Xeon E5-2660 v4 (28C 2000) | 1650 | 19303.2 | 1707.3 | 2000 | 72800 | 22.6648 | 1000 | 1.8 | 114.2585 | 3.7714
| Intel Xeon E5-2680 v4 (28C 2400) | 2186.8 | 21448 | 1897 | 2400 | 81200 | 26.931 | 1000 | 1.8 | 127.8607 | 3.7859
| Intel Xeon E5-2699 v4 (44C 2200) | 4526.5 | 21277 | 1674 | 2200 | 127600 | 35.4741 | 1000 | 1.8 | 238.8521 | 5.9971
| Intel E3 1220 v3 | 200 | 6500 | 829 | 3100 | 12800 | 15.625 | 200 | 1 | 61.5385 | 1.9692
Note on K16: did 1.8, because 2 CPU is never as effective as 1 CPU, there is loss
Note on E21: +jurgen.hofkens@greenitglobe.com weird nr -Kristof De Spiegeleer